| DEPARTMENT OF ELECTRICAL ENGINEERING |  |
| --- | --- |
| SUBJECT: SWITCHGEAR AND PROTECTION (TH 4A) SEMESTER:5TH |  |
| NO. OF CLASSES | TOPICS TO BE COVERED |
| 1 | Introduction |
| 2 | Basics of protection |
| 3 | Necessity,functions of protective system |
| 4 | Normal and abnormal; conditions |
| 5 | Types of fault and their causes |
| 6 | Protection zone and backup protection |
| 7 | Short ckt fault calculation in lines |
| 8 | Need of current limiting reactors and their arrangement |
| 9 | Isolators: vertical break,phantograph type |
| 10 | HRC fuse: construction,working ,characteristics and application |
| 11 | Arc formation process |
| 12 | Method of arc extinction:High resistance method |
| 13 | Method of arc extinction:Low resistance method |
| 14 | HT- circuit breakers |
| 15 | LT-circuit breakers |
| 16 | Selection of HT,LT circuit breakers |
| 17 | Gas insulated seitchgear |
| 18 | Protective relays: fundamental knowledge |
| 19 | Basic relay terminology |
| 20 | Protective relays: classification,principle of operation,construction |
| 21 | Thermal relay:Block diagram,working of static relay |
| 22 | Overcurrent relay |
| 23 | Microprocessor based overcurrent relay |
| 24 | Distance relay: principle,operation |
| 25 | Directional relay: need and operation |
| 26 | Operation of current and over voltage relay |
| 27 | Alternator fault protection |
| 28 | Differential protection ,over current protection |
| 29 | Earth fault protection,overheating and field failure protection |
| 30 | Reserve power protection |
| 31 | Transformer Protection faults: Differential,over current |
| 32 | Transformer Protection faults: earth fault protection |
| 33 | Over heating protection |
| 34 | Limitation of differential protection |
| 35 | Buchholz relay: construction,operation |
| 36 | Protection of motors: Bus -bar and transmission line motor faults |
| 37 | short ckt protection |
| 38 | Overload protection,Single phase preventers |
| 39 | Bus bas and transmission line |
| 40 | Fault on Bus bas and transmission line |
| 41 | Bus bar protection:Differential,fault bus protection |
| 42 | Transmission line:over current protection |
| 43 | Transmission line:distance and Pilot wire protection |
| 44 | Doubt clearing class |
| 45 | Question-answer discussion for final exam |
| DEPARTMENT OF ELECTRICAL ENGINEERING |  |
| SUBJECT: SWITCHGEAR AND PROTECTION (TH 4A) SEMESTER:5TH |  |
| NO. OF CLASSES | TOPICS TO BE COVERED |
| 1 | Introduction |
| 2 | Basics of protection |
| 3 | Necessity,functions of protective system |
| 4 | Normal and abnormal; conditions |
| 5 | Types of fault and their causes |
| 6 | Protection zone and backup protection |
| 7 | Short ckt fault calculation in lines |
| 8 | Need of current limiting reactors and their arrangement |
| 9 | Isolators: vertical break,phantograph type |
| 10 | HRC fuse: construction,working ,characteristics and application |
| 11 | Arc formation process |
| 12 | Method of arc extinction:High resistance method |
| 13 | Method of arc extinction:Low resistance method |
| 14 | HT- circuit breakers |
| 15 | LT-circuit breakers |
| 16 | Selection of HT,LT circuit breakers |
| 17 | Gas insulated seitchgear |
| 18 | Protective relays: fundamental knowledge |
| 19 | Basic relay terminology |
| 20 | Protective relays: classification,principle of operation,construction |
| 21 | Thermal relay:Block diagram,working of static relay |
| 22 | Overcurrent relay |
| 23 | Microprocessor based overcurrent relay |
| 24 | Distance relay: principle,operation |
| 25 | Directional relay: need and operation |
| 26 | Operation of current and over voltage relay |
| 27 | Alternator fault protection |
| 28 | Differential protection ,over current protection |
| 29 | Earth fault protection,overheating and field failure protection |
| 30 | Reserve power protection |
| 31 | Transformer Protection faults: Differential,over current |
| 32 | Transformer Protection faults: earth fault protection |
| 33 | Over heating protection |
| 34 | Limitation of differential protection |
| 35 | Buchholz relay: construction,operation |
| 36 | Protection of motors: Bus -bar and transmission line motor faults |
| 37 | short ckt protection |
| 38 | Overload protection,Single phase preventers |
| 39 | Bus bas and transmission line |
| 40 | Fault on Bus bas and transmission line |
| 41 | Bus bar protection:Differential,fault bus protection |
| 42 | Transmission line:over current protection |
| 43 | Transmission line:distance and Pilot wire protection |
| 44 | Doubt clearing class |
| 45 | Question-answer discussion for final exam |