| DEPARTMENT OF ELECTRICAL ENGINEERING |  |
| --- | --- |
| SUBJECT: EC&A(TH 2 ) SEMESTER:5TH |  |
| 1 | Basic Introduction |
| 2 | Energy Conservation Basics |
| 3 | Energy Scenario: Primary and Secondary Energy |
| 4 | Energy demand and supply, National scenario. |
| 5 | Energy conservation and Energy audit; concepts and difference |
| 6 | Indian Electricity Act 2001; relevant clauses of energy conservation |
| 7 | BEE and its Roles |
| 8 | MEDA and its Roles |
| 9 | Star Labelling: Need and its benefits. |
| 10 | Energy Conservation in Electrical Machines: Need for energy conservation in induction motor |
| 11 | Need for energy conservation in transformer |
| 12 | Energy conservation techniquesin induction motor by Improving Power quality |
| 13 | Motor survey |
| 14 | Matching motor with loading |
| 15 | Minimizing the idle and redundant running of motor |
| 16 | Operating in star mode |
| 17 | Rewinding of motor, Replacement by energy efficient motor , Periodic maintenance |
| 18 | Energy conservation techniques in Transformer |
| 19 | Loading sharing , Isolating techniques,periodic maintainance |
| 20 | Parallel operation of transformer |
| 21 | Energy Conservation Equipment: Softstarters, Automatic star delta convertor |
| 22 | Energy Conservation Equipment:Variable Frequency Drives, Automatic p. f. controller (APFC), |
| 23 | Energy Conservation Equipment:Intelligent p. f. controller (IPFC) |
| 24 | Energy efficient motor; significant features, advantages, applications and limitations. |
| 25 | Energy efficient transformers, amorphous transformers; epoxy Resin cast transformer / Dry type of transformer |
| 26 | Energy conservation in Electrical Installation systems:Technical losses; causes and measures to reduce by. a) Controlling I2R losses. b) Optimizing distribution voltage |
| 27 | c) Balancing phase currents d) Compensating reactive power flow |
| 28 | Energy conservation equipment: Maximum DemandController , kVAR Controller, Automatic Power Factor controller(APFC) |
| 29 | Energy Conservation in Lighting System : a) Replacing Lamp sources. b) Using energy efficient luminaries. |
| 30 | c) Using light controlled gears. d) Installation ofseparate transformer /servo stabilizer for lighting. e) Periodic survey and adequate maintenance programs. Energy Conservation techniquesin fans, Electronic regulators. |
| 31 | Co-generation and Tariff; concept, significance for energy conservation |
| 32 | Co-generation , Types of cogeneration on basis of sequence of energy use (Topping cycle, Bottoming cycle) |
| 33 | Types of cogeneration basis of technology (Steam turbine cogeneration, Gas turbine cogeneration, Reciprocating engine cogeneration). |
| 34 | Factors governing the selection of cogeneration system, Advantages of cogeneration. |
| 35 | Tariff: Types of tariff structure: Special tariffs; Time-off-day tariff, Peak-off-day tariff, Power factor tariff, Maximum Demand tariff, Load factor tariff |
| 36 | Application of tariff system to reduce energy bill. |
| 37 | Energy audit (definition as per Energy Conservation Act) |
| 38 | Energy audit instruments and their use. |
| 39 | Questionnaire for energy audit projects. |
| 40 | Questionnaire for energy audit projects. |
| 41 | Energy flow diagram (Sankey diagram) |
| 42 | Simple payback period, Energy Audit procedure (walk through audit and detailed audit). |
| 43 | Energy audit procedure |
| 44 | Energy Audit report format. |
| 45 | Energy Audit report format. |